Name of Mall:        Tenant Name:        Space No:            Storefront Picture:

Inspection Date:        Const. Completion Date:        Opening Date:

Inspection Completed By:       				Date Sent to Tenant Coordination:

(Name of Mall Representative)

| Yes | No | STOREFRONT / REAR EXIT: |
| --- | --- | --- |
|  |  | Final clean up of storefront completed. Comments: |
|  |  | Storefront workmanship acceptable. Comments: |
|  |  | Mall bulkhead, neutral piers, and floor tile cleaned, painted, and repaired. Comments: |
|  |  | Acceptable transition strip at change in floor material (i.e., tile at entry to carpet in sales). Comments: |
|  |  | Approved signage installed properly. Comments: |
|  |  | Exit vestibule complete (door painted & labeled, corridor repaired & cleaned) Comments: |

| Yes | No | SALES AREA: |
| --- | --- | --- |
|  |  | Walls finished with approved materials. Comments: |
|  |  | Approved base material installed. Comments: |
|  |  | All electrical cover plates installed. Comments: |
|  |  | Approved ceiling. Comments: |
|  |  | If a drywall ceiling is installed, there is adequate access to Mall or Tenant equipment and/or clean outs above the ceiling (i.e., air handlers, smoke detectors, catwalks, etc.). Comments: |
|  |  | Flooring installed properly. Comments: |
|  |  | Space is clean and ready for fixtures and merchandise. Comments: |

| Yes | No | STRUCTURAL: |
| --- | --- | --- |
|  |  | Roof Penetrations authorized and performed by the Landlord’s roofing contractor. Comments: |
|  |  | Mall expansion joints within Tenant’s premises properly addressed during construction. Comments: |
|  |  | Proper attachment to the structure overhead. Comments: |

| Yes | No | # MECHANICAL / ELECTRICAL / PLUMBING: |
| --- | --- | --- |
|  |  | All abandoned HVAC and other type tenant specific rooftop equipment has been removed and properly disposed of; metal deck and roof material patch by Mall roofer. Comments: |
|  |  | Final AABC Air Balance report required. Comments: |
|  |  | Electric water heater installed with 2” drain pan with overflow and relief valves piped to floor drain. Comments: |
|  |  | Floor drain installed in all toilet room / wet areas (The floors in all wet areas, with the exception of those located on grade level, must be sealed with a waterproof membrane). Comments: |
|  |  | Life / safety systems installed and operational. Comments: |
|  |  | Single disconnect switch in space for all electrical service. Comments: |
|  |  | Electronic Demand Check Meter - GE #784X400001 installed in the Mall electric room. Tenant’s electrical service to be labeled at mall SES. Comments: |
|  |  | Water meter installed in high water-usage Tenant’s only. Comments: |
|  |  | Water shut-off valve installed at eye level in restroom. Comments: |

| Yes | No | # MECHANICAL / ELECTRICAL / PLUMBING FOR FOOD TENANTS: |
| --- | --- | --- |
|  |  | Grease Guard Grease Containment System with 10’ upblast installed. Comments: |

| Yes | No | MISCELLANEOUS: |
| --- | --- | --- |
|  |  | Violations during construction (see attached Violation List). Comments: |
|  |  | As-Builts required Comments: |
|  |  | Certificate of Occupancy required Comments: |
|  |  | Fees/Payments due Comments: |

Mall Management Comments: